## Phase 1 infrastructure
Notes:
1 | Work items to be implemented according to conditions and specifications of the tender and in accordance with supervision engineer instructions.
2 | Prices should include all necessary materials, and equipment to complete the items according to DWG.
3 | Contractor has responsibility to do all necessary test.
4 | In the cases of some works in the drawing are not mentioned in the bill of quantity the contractor should add this item to the bill of quantity before starting of works, otherwise the contractor should execute this work for no extra charge and the contractor doesn't have any right to ask for variations orders.
5 | Work items to be implemented according to conditions and specifications of the tender and in accordance with supervision engineer instructions.
6 | Provide all detailed shop drawings.
7 | Provide all samples: Provided samples must be approved by site engineers.
8 | Provide detailed time schedule.
Supply and Install of Sewage Pipes in AlJulan Area-Zone 68-Fallujah- Anbar Governorate
Bill of Quantities
Item | Description |  |  | Unit | Qty | unit price | Total
|  | 1 | Supply and Install main Sanitary network Pipes PVC High Pressure pipes Dim 6". The work will take into consideration the required slopes and the quality to be approved by the supervisor engineers' instructions | M.L | 1000
Total $